KNOX COUNTY HEALTH DEPARTMENT

305 SOUTH 5TH STREET VINCENNES, IN 47591

Phone:  (812) 882-8080	Fax:  (812) 882-5625

# Food Establishment Plan Review Application

____New Establishment	____ Remodel	_____Change of Ownership

## Establishment Information

Name _________________________________________________________

Address _______________________________________________________

_______________________________________________________

Phone Number  _________________________________________________

### Owner Information

Name _________________________________________________________

Address _______________________________________________________

_______________________________________________________

Phone Number  _________________________________________________

### Applicant’s Information

Name_________________________________________________________

Title__________________________________________________________

Address _______________________________________________________

_______________________________________________________

Phone Number  _________________________________________________

### Contractor’s Information

Name_________________________________________________________

Title__________________________________________________________

Address _______________________________________________________

_______________________________________________________

Phone Number  _______________________________________________________

I have submitted plans/applications to the following authorities on the following dates:

____Zoning

____Area Plan Commission

____Building Commission

____City Engineer’s

____Fire

#### Hours of Operation

______Sunday

______Monday

______Tuesday

______Wednesday

______Thursday

______Friday

______Saturday

#### Type of Operation (Please circle all that apply)

#### Restaurant Related

Bar with Food Prep		Buffet or Salad Bar			Cafeteria

Catering 			Church				Commissary

Counter			Fast Food				Mobile

Sit down meals		Tableside/Display Cooking		Take out Menu

Other _______________

#### Grocery Related

Bakery

Deli

Fresh Meat

Grocery Store

Ice Production/Packaging

Produce

Seafood/Fish

Self-service baked goods

Self-service bulk items

Number of Seats___________________

Number of Staff   ___________Full Time 	____________Part Time

Total Square Feet of Facility______________

Number of Floors on which operations are to be conducted_____________

Maximum Meals to be served: 	_________Breakfast

_________Lunch

_________Dinner

Projected Date for Start of Project __________________

Projected Date for Completion of Project_____________

Please enclose the following documents:

_________Proposed Menu (including seasonal, off-site, and banquet menus)

_________Manufacturer Specification sheets for each piece of equipment shown on the plans

_________Site plan showing location of business in building; location of building on site including alleys, streets; location of any outside equipment (dumpsters, well, septic system-if applicable)

_________Plan drawn to scale of food establishment showing location of equipment, plumbing, electrical services and mechanical ventilation

_________Equipment schedule

##### Contents and Format of Plans and Specifications

1.  Provide plans that are a minimum of 11 X 14 inches in size including the layout of the floor plan accurately drawn to a minimum scale of ¼ inch =1 foot.  This is to allow for ease in reading plans.

2.  Include: proposed menu, seating capacity, and projected daily meal volume for food service operations.

3.  Show the location and when requested, elevated drawings of all food equipment.  Each piece of equipment must be clearly labeled on the plan with its common name.  Submit drawing of self-service hot and cold holding units with sneeze guards.

4.  Designate clearly on the plan equipment for adequate rapid cooling, including ice baths and refrigeration, and for hot-holding potentially hazardous foods.

5.  Label and locate separate food preparation sinks when the menu dictates to preclude contamination and cross-contamination of raw and ready-to-eat foods.

6.  Clearly designate adequate handwashing lavatories for each toilet fixture and in the immediate area of food preparation.

7.  Provide the room size, aisle space, space between and behind equipment and the placement of the equipment on the floor plan.

8.  On the plan represent auxiliary areas such as storage rooms, garbage rooms, toilets, basements and /or cellars used for storage or food preparation.  Show all features of these rooms as required by this guidance manual.

9.  Include and provide specifications for:

- Entrances, exits, loading/unloading areas and docks

- Complete finish schedules for each room including floors, walls, ceilings and coved juncture bases

- Plumbing schedule including location of floor drains, floor sinks, water supply lines, overhead waste-water lines, hot water generating equipment with capacity and recovery rate, backflow prevention, and waste water line connections

- Lighting schedule with protectors

  - At least 20 foot candles at a distance of 75 cm (30 inches) above the floor, in walk in refrigeration units and dry storage areas and in other areas and rooms during period of cleaning

  - At least 20 foot candles:

    - At a surface where food is provided for consumer self-service such as buffets and salad bars or where fresh produce or packaged foods are sold or offered for consumption

    - Inside equipment such as reach-in and under-counter refrigerators

    - At a distance of 75cm (30 inches) above the floor in areas used for handwashing, warewashing, and equipment and utensil storage and in toilet rooms.

  - At least 70 foot candles at a surface where a food employee is working with food or working with utensils or equipment such as knives, slicers, grinders, or saws where employee safety is a factor.

- Food equipment schedule to include make and model numbers and listing of equipment that is certified or classified for sanitation by an ANSI accredited certification program (when applicable).

- Source of water supply and method of sewage disposal.  Provide the location of these facilities and submit evidence that state and local regulations are complied with

- A color coded flow chart demonstrating flow patterns for

(1) food (receiving, storage, preparation, service)

(2) food and dishes (portioning, transport, service)

(3) dishes (clean, soiled, cleaning, storage)

(4) utensil (storage, use, cleaning)

(5) trash and garbage (service area, holding, storage)

- Ventilation schedule for each room

- A mop sink or curbed cleaning facility with facilities for hanging wet mops

- Garbage can washing area/facility

- Cabinets for storing toxic chemicals

- Dressing rooms, locker areas, employee rest areas and/or coat rack

- Site plan (plot plan)

STATEMENT: I certify that the plan review application package submitted is accurate to the best of my knowledge.  I fully understand that any deviation from this application without prior permission from the Knox County Health Department may nullify final approval.

_____________________________________________	_________________

Printed Name of owner or representative			Date

_____________________________________________	_________________

Signature of owner or representative				Date

****Approval of these plans and specifications by the Knox County Health Department does not indicate compliance with any other code, law, or regulation that may be required (federal, state or local).  It further does not constitute endorsement or acceptance of the completed establishment (structure or equipment).  A pre-operational inspection of the establishment with equipment will be necessary to determine if it complies with the local and state laws governing food service establishments.

Food Preparation Review

Please answer the following questions.

Potentially Hazardous Foods

Check categories of Potentially Hazardous Foods (PHF’s) to handled, prepared and served.

Category						Yes        	 No

Thin meats (i.e.: hamburger, fillets) 		____		____

Thick meats (i.e.: whole chickens, roast beef)	____		____

Cold processed foods				____		____

Hot processed foods				____		____

Bakery goods					____		____

Other 	__________________________		____		____

__________________________		____		____

Food Supplies

What are the projected frequencies of deliveries for

Frozen food		____________
	Refrigerated food	____________

Dry goods		____________

Provide information on the amount of space (in cubic feet) allocated for the following:	Frozen food		____________
	Refrigerated food	____________

Dry goods		____________

How will dry goods be stored off the floor? _______________________________

_________________________________________________________________

Cold Storage

Will raw meat, poultry and seafood be stored in the same refrigerators and freezers with cooked/ready-to eat foods? YES/NO

If yes, how will cross-contamination be prevented?

_______________________________________________________

_______________________________________________________

_______________________________________________________

Does each cold storage unit have a thermometer?  YES/NO

Walk-In Refrigeration and Freezer Storage

| Walk-in Item # | Interior usable height (ft) | Interior Length (ft) | Interior Width (ft) |
| --- | --- | --- | --- |

- List the number or name for each walk-in refrigerator and freezer.  This should be the same number or name used on plans.

- List the interior usable height of each walk-in (For example, for a unit with a 7’ ceiling, the usable height would be 5.5’ if the bottom shelf is 6” off the floor and storage will stop 1’ from the ceiling.

- List the interior length and width of each unit.

Upright Refrigerators and Freezer Storage

| Upright # | Interior depth (in) | Interior Length (in) | Interior Width (in) |
| --- | --- | --- | --- |

- List the number or name for each upright refrigerator and freezer.  This should be the same number or name used on plans. Do not list working, preparation and line refrigerators.

2.  List the interior depth, width and height for each unit.

Number of soft service ice cream machines__________________________

Number of ice machines______ Self-dispensed	   ______ Hand Scoop

Dry Storage

| Location | Usable room height (ft) | Interior Length (ft) | Interior Width (ft |
| --- | --- | --- | --- |

- List the interior usable height of each storage area. (Determine height from             floor to ceiling, and then subtract height of food off floor (6 inches) and height of food from ceiling.

- Please note any auxiliary storage (i.e. Outside)

Or if there is no dry storage room proposed

| Total Shelving Length (ft) | Shelving Width (ft) |
| --- | --- |

Cooking

List types of cooking equipment____________________________________________

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Thawing Frozen Potentially Hazardous Food

Please indicate by checking the appropriate boxes how frozen potentially hazardous foods (PHF’s) in each category will be thawed.  More than one method may apply.  Also, indicate where thawing will take place.

| Thawing Method | *Thick Frozen Foods | **Thin Frozen Foods |
| --- | --- | --- |
| Refrigeration |  |  |
| Running Water Less than 70 F |  |  |
| Microwave (as part of the cooking process) |  |  |
| Cooked from frozen state |  |  |
| Other (describe) |  |  |

*Thick Frozen Foods: approximately one inch or more

**Thin Frozen Foods: approximately one inch or less

Hot/Cold Holding

How will hot PFH’s be maintained at 135 F or above during holding service?  Indicate type and number of hot holding units.________________________________________

____________________________________________________________________________________________________________________________________________

______________________________________________________________________

How will cold PHF’s be maintained at 41 F or less during holding service?  Indicate type and number of cold holding units.___________________________________________

____________________________________________________________________________________________________________________________________________

Cooling

Please indicate by checking the appropriate boxes how PHF’s will be cooled to 41F within 6 hours (135 F to 70 F in 2 hours and 70 F to 41 F in 4 hours).  Also, indicate where cooling will take place.

| Cooling Method | Thick Meats | Thin Meats | Thin Soups Gravies | Thick Soups Gravies | Rice/Noodles |
| --- | --- | --- | --- | --- | --- |
| Shallow Pans |  |  |  |  |  |
| Ice Baths |  |  |  |  |  |
| Reduce Volume or Size |  |  |  |  |  |
| Rapid Chill |  |  |  |  |  |
| Other (describe) |  |  |  |  |  |

Reheating

How will PHF’s that are cooked, cooled, and reheated for hot holding be reheated so that all parts of the food reach a temperature of at least 165F for 15 seconds.  Indicate type and number of units used for reheating.

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

How will reheating food to 165 F for hot holding be done rapidly and within 2 hours?________________________________________________________________

____________________________________________________________________________________________________________________________________________

Preparation

Please list categories of foods prepared more than 12 hours in advance of service.

____________________________________________________________________________________________________________________________________________

Will employees be trained in good food sanitation practices? YES/NO

Method of training:_______________________________________________________

____________________________________________________________________________________________________________________________________________

Who is the establishments certified food handler?____________________________

Attach a copy of certification.

Will disposable gloves and/or utensils and /or food grade paper be used to prevent handling of ready-to-eat foods?  YES/NO

Is there a written policy to exclude or restrict food workers who are sick or have infected cuts and lesions? YES/NO

Please describe_________________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________

How will cooking equipment, cutting boards, counter tops and other food contact surfaces which cannot be submerged in sinks or put through a dishwasher be sanitized?      Chemical Type__________________

Concentration___________________

Test Kit 	YES/NO

Will ingredients for cold ready-to-eat foods such as tuna, mayonnaise and eggs for salads and sandwiches be pre-chilled before being mixed and/or assembled? YES/NO

If not, how will ready-to-eat foods be cooled to 41 F?____________________________

______________________________________________________________________

______________________________________________________________________

Will all produce be washed on-site prior to use? YES/NO

Is there a planned location used for washing produce? YES/NO

Describe ______________________________________________________________

____________________________________________________________________________________________________________________________________________

If there is not a separate location to wash produce, describe the procedure for cleaning and sanitizing multiple use sinks between use._________________________________

____________________________________________________________________________________________________________________________________________

Describe the procedure used for minimizing the length of time PHF’s will be kept in the temperature danger zone (41 F to 135 F) during preparation. _____________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________

Provide a HACCP plan for specialized processing methods such as vacuum packaged food items prepared on-site or otherwise required by the regulatory authority.

Are containers constructed of safe materials to store bulk food products? YES/NO

Indicate type ___________________________________________________________

______________________________________________________________________

Date Marking

When potentially hazardous food is ready-to-eat and will be kept under refrigeration for more than 24 hours after preparation/opening a last date of use must be placed on the item.

Will the establishment have food items that must be date marked? Yes/No

If yes, describe the date marking system that will be used? ______________________

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Handwashing/Toilet Facilities

Is there a hand washing sink in each food preparation and ware washing area? YES/NO

Do all handwashing sinks, including those in the restrooms have a mixing valve or combination faucet? YES/NO

Do self-closing metering faucets provide a flow of water for at least 15 seconds without the need to reactivate the faucet? YES/NO

Is hand cleanser available at all hand-washing sinks? YES/NO

Are hand-drying facilities available at all hand-washing sinks? YES/NO

Are covered waste receptacles available in each female use restroom? YES/NO

Is hot and cold pressurized running water available at each hand washing sink? YES/NO

Are all toilet room doors self-closing? YES/NO

Are all toilet rooms equipped with adequate ventilation? YES/NO

Water Supply

Is water supply ______Public  ______ Private?

If Private, has source been approved? YES/NO

Please attach copy of written approval and/or permit.

Where is ice made? _______On Premises  _______ Purchased Commercially

Describe provision for ice scoop ________________________________________ __________________________________________________________________ __________________________________________________________________

Provide location of icemaker or bagging operation _________________________ __________________________________________________________________ __________________________________________________________________

What is the capacity of the hot water generator? ___________________________

Is the hot water generator sufficient for the needs of the establishment? YES/NO

How are backflow prevention devices inspected and serviced? _______________

_________________________________________________________________ _________________________________________________________________

Plumbing Connections

|  | Air Gap | Air Break | Integral Trap | P Trap | Vacuum Breaker | Condensate Pump |
| --- | --- | --- | --- | --- | --- | --- |
| Toilet |  |  |  |  |  |  |
| Urinals |  |  |  |  |  |  |
| Dishwasher |  |  |  |  |  |  |
| Garbage Grinder |  |  |  |  |  |  |
| Ice Machines |  |  |  |  |  |  |
| Ice Storage Bin |  |  |  |  |  |  |
| Sinks a. Mop b. Janitor C Hand wash d. 3 compartment e 2 compartment f. 1 compartment g. water station |  |  |  |  |  |  |
| Steam Tables |  |  |  |  |  |  |
|  | Air Gap | Air Break | Integral Trap | P Trap | Vacuum Breaker | Condensate Pump |
| Dipper Wells |  |  |  |  |  |  |
| Condensate/ Drain Lines |  |  |  |  |  |  |
| Hose Connection |  |  |  |  |  |  |
| Potato Peeler |  |  |  |  |  |  |
| Beverage Dispenser w/carbonator |  |  |  |  |  |  |
| Floor Drains |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |

*Trap: A fitting or device, which provides a liquid seal to prevent the emission of sewer gases without materially affecting the flow of sewage or wastewater through it.  An integral trap is one that is built directly into the fixture e.g., a toilet fixture.  A “P” trap is a fixture trap that provides a liquid seal in the shape of the letter “P: Full “S” traps are prohibited.

Are floor drains provided and easily cleanable? If so, indicate location: _____________ ____________________________________________________________________________________________________________________________________________

Sinks

Is a mop sink present? YES/NO

If no, please describe facility for cleaning of mops and other equipment: ____________

____________________________________________________________________________________________________________________________________________

If the menu dictates, is a food preparation sink present? YES/NO

Where is it located? ___________________________________________________

Dishwashing Facilities

What equipment will be installed for ware washing use?

_____Dishwasher

_____Three compartment sink

What type of sanitization used for dishwasher? ____Hot water

____Chemical

Is ventilation provided for dishwasher? YES/NO

Do all dish machines have templates with operating instructions? YES/NO

Do all dish machines have temperature/pressure gauges as required that are accurately working?  YES/NO

Does the largest pot and pan fit into each compartment of the pot sink? YES/NO

If no, what is the procedure for manual cleaning and sanitizing? ___________________ ____________________________________________________________________________________________________________________________________________

Are there drain boards on both ends of the pot sink? YES/NO

What type of sanitizer is to be used? ____ Chlorine	___Hot Water

____ Iodine	___ Quaternary ammonium

____ Other

Hot Water

When multiple separate water heaters are provided indicate which water heater serves which fixtures.

| Identify and list all equipment that will be supplied with hotwater. | # of Fixtures |
| --- | --- |
| Handsinks |  |
| Bathroom Sinks |  |
| 1 Compartment Sinks |  |
| 2 Compartment Sinks |  |
| 3 Compartment Sinks |  |
| Vegetable Sink |  |
| Overhead Spray Rinse |  |
| Bar sink ___3 Compartment ___4 Compartment |  |
| Cook sink |  |
| Hot Water Filling Faucet |  |
| Bain-maire |  |
| Coffee Urn |  |
| Kettle Stand |  |
| Garbage Can Washer |  |
| Clothes Washer |  |
| Employee Shower |  |
| Mop Sink |  |
| Dishmachine ___ Hot water ___Chemical Make and Model |  |
| Other |  |
| Other |  |

Water Heater Manufacturer _______________________  Model Number __________

Proposed size: 	Electric _____________ KW

Gas     _____________BTU’s  Thermal Effiecency ______%

Storage Capacity 	___________ galloons

Recovery Rate	___________ galloons per hour (@100 degree rise)

Do hot water heaters serve any non-food equipment area? YES/NO

If yes, please describe ___________________________________________________

______________________________________________________________________

Insect and Rodent Control

Will all outside doors be self-closing and rodent proof?  YES/NO

Are screen doors provided on all entrances open to the outside? YES/NO

Do all open able windows have a minimum #16 mesh screening? YES/NO

Is the placement of electrocution devices identified on the plan? YES/NO

Will all pipes and electrical conduit chases be sealed; ventialion systems exhaust and intakes protected? YES/NO

Is area around building clear of unnecessary brush and other harborage? YES/NO

Will air curtains be used? YES/NO   If yes, where? _________________________

_________________________________________________________________

List name and phone number of Pest Control Operator ______________________

__________________________________________________________________

Garbage and Refuse

Inside

Will refuse be stored inside?  YES/NO  If so, where? _________________________

___________________________________________________________________

Is there an area designated for garbage can or floor mat cleaning? YES/NO

Outside

Will a dumpster be used? YES/NO

Number _____________	Size____________________

Frequency of Pickup ____________________________

Contractor ____________________________________

Will a compactor be used? YES/NO

Number _____________	Size____________________

Frequency of Pickup ____________________________

Contractor ____________________________________

Will a grease trap or grease container be used? YES/NO

Number _____________	Size____________________

Frequency of Pickup ____________________________

Contractor ____________________________________

Will garbage cans be stored outside? YES/NO

Describe surface and location where dumpster/compactor/garbage cans are to be stored.  _______________________________________________________________

____________________________________________________________________________________________________________________________________________

Describe location of grease storage receptacle ________________________________

____________________________________________________________________________________________________________________________________________

Is there an area to store recycled containers? YES/NO  Describe __________________

______________________________________________________________________

Indicate what materials are to be recycled: 	_____ Glass	 	____ Cardboard

_____ Metal		____ Plastic

_____ Paper

Is there any area to store returnable damaged goods? YES/NO

Sewage Disposal

Is building connected to a municipal sewer? YES/NO

If no, is private disposal system approved? YES/NO

Please attach a copy of written approval and/or permit.

Are grease traps provided? YES/NO

If so where? ___________________________________________________________

_____________________________________________________________________ _____________________________________________________________________

Provide schedule for cleaning and maintenance _______________________________

______________________________________________________________________

Dressing Rooms

Are dressing rooms provided? YES/NO

Describe storage facilities for employees’ personal belongings (ie: purses, coats)

__________________________________________________________________________________________________________________________________________________________________________________________________________________

Toxic Materials

Are insecticides/rodenticides stored separately from cleaning and sanitizing agents? YES/NO

Indicate locations _______________________________________________________ ____________________________________________________________________________________________________________________________________________

Are all toxics for use on the premise or for retail sale (this includes personal medications) stored away from food preparation and storage areas? YES/NO

Linens

Are laundry facilities located on premise? YES/NO

If yes, indicate location and what is to be laundered __________________________

___________________________________________________________________

If no, how will linens be cleaned? ________________________________________

___________________________________________________________________

Is a laundry dryer available? YES/NO

Location of clean linen storage __________________________________________

Location of dirty linen storage ___________________________________________

Finishing Schedule

Applicant must indicate which materials (quarry tile, stainless steel, 4”plastic coved molding, etc) will be used in the following areas.

|  | Floor | Coving | Walls | Ceiling |
| --- | --- | --- | --- | --- |
| Kitchen |  |  |  |  |
| Bar |  |  |  |  |
| Food Storage |  |  |  |  |
| Other Storage |  |  |  |  |
| Dressing Room |  |  |  |  |
| Garbage and Refuse Storage |  |  |  |  |
| Mop Service Basin Area |  |  |  |  |
|  | Floor | Coving | Walls | Ceiling |
| Ware washing Area |  |  |  |  |
| Walk-in Refrigerators and Freezers |  |  |  |  |

Ventilation

Indicate all areas where exhaust hoods are installed:

| Location | Filters/extraction devices | Square Feet | Fire Protection | Air Capacity | Air Make-Up |
| --- | --- | --- | --- | --- | --- |

How is each listed ventilation hood system cleaned? ___________________________

____________________________________________________________________________________________________________________________________________

Catering/Off-Site/Satellite

List menu items to be catered.  _____________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________

Maximum number of catered meals per day will be _____________.

How will hot food be held at proper temperature during transportation and at the remote serving location? _______________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________

How will cold food be held at proper temperature during transportation and at the remote serving location? __________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________

What types of vehicles will be used to transport food? ___________________________

______________________________________________________________________

What types of sneeze guards or food protection devices will be used? ______________

# Text boxes

$45.00 Fee

Required at Time of Submission

For Health Department Use Only:

Date Received: ____________    Payment Type:  ____________ Receipt Number: _______________

(Check Number)